# Industrial irradiation: continuing consent

# Safety assessment template
Complete this template and upload it to the Health and Safety Executive (HSE) using the RADAN online service. You can access the service from the HSE website at www.hse.gov.uk/radiation/ionising/notify.html

This template will form part of your safety assessment along with your local rules and contingency plan.

You can find guidance on safety assessments and templates for other work practices on HSE’s website at www.hse.gov.uk/radiation/ionising/safety-assessment.htm

Read the guidance for each section and enter the information required in the expanding text boxes.

## Section 1

Give a general summary of the:
- type of industrial irradiation being performed
- premises(s) at which the practice is being performed

You should give details of the types of radioactive sources being used, the radionuclides and their maximum activities. You should list all radiation generators used for irradiation together with their type and energy ranges.

## Section 2

Give a summary of the arrangements for managing radiation protection. ‘Radiation’ refers to ionising radiation throughout this document.

Specify the radiation protection responsibilities and duties of management with clear lines of reporting established.

It is not sufficient to rely on the Radiation Protection Supervisor (RPS) and Radiation Protection Adviser (RPA) for the management of radiation protection. You should provide evidence to show that you manage radiation protection at a senior level. You should also give details of how RPSs are given sufficient time and resources to supervise the work so that it is done in accordance with local rules.

## Section 3

A. Give details of the frequency of use of the industrial irradiation sources of radiation to be used, or likely to be used. You should give the maximum number of occasions industrial irradiation was carried out in the last year at each location.

B. Give details of the nature of other sources of radiation employees engaged in irradiation are likely to be exposed to including:
- the accumulation of radon in the working environment – the results of the risk assessment for radon
- other sources of radiation

## Section 4

Give estimates, and where applicable, measurements of the radiation dose rates to which anyone can be exposed.

You must provide reasoned estimates or measurements of the dose rates that employees and others could be exposed to during both routine operations and in the event of any reasonably foreseeable radiation accident.

This will include the maximum accessible dose rates that employees and members of the public could be exposed to at each location (in normal conditions and in the event of failure of control measures).

These estimates or measurements must show that dose rates do not exceed 7.5Svh-1 outside any shielded enclosure or at the boundaries of controlled areas established around irradiation activities.

In all cases, you must give estimates or measurements of:
- all the relevant exposure categories (effective dose, equivalent dose [extremities, skin, eyes])
- annual exposures in all relevant categories to employees, other persons and members of the public

Consent will not be granted if HSE do not consider these to be as low as reasonably practicable (ALARP).

Where dose investigation levels have been exceeded within the past 2 years, you should include details of date, location and dose received.

## Section 5

Give a summary of the engineering control measures and design features in place.

Engineering control measures and design features include but are not limited to:
- mechanical and electrical interlocks
- barriers
- control panels
- emergency stop arrangements
- access restriction or prevention measures
- monitoring stations
- warning lights and signals
- video equipment

In all cases, you should give their type and numbers and mode of operation etc and mark their location on a sketch plan of the facility(s). The plan(s) must also show the type and nature of any radiation shielding and the location of where the work will take place.

For most engineering controls, warning lights and signals, you must illustrate and confirm their failsafe nature.

You should describe the procedures for any radioactive source changes, including the engineering controls etc. to be adopted to ensure that exposures during source changes are ALARP.

Where engineering controls and/or safety systems are not yet installed, give an indication of the timescale for installation. You should indicate designated controlled and supervised areas on the sketch plan.

This is to comply with the requirements of the IRR17, regulation 9 (Restriction of Exposure), associated with the work practice. You can find guidance on this regulation in publication L121, which you can download at www.hse.gov.uk/pubns/books/l121.htm.

## Section 6

Give a summary of the maintenance and testing schedules for all:
- engineering controls
- safety critical controls such as interlocks
- warning devices
- other safety features

You should summarise all the maintenance schedules and test results for all the items referenced in Section 5.

You should state the pass/fail criteria and specify the routine and failure replacement regimes.

## Section 7

Give a summary of:
- the results for the critical examinations
- any critical examination reports from the last 2 years

## Section 8

Give a summary of the radiation dose rate monitoring regime for irradiation areas and their surroundings, including any areas to which the public may have access.

Of particular importance is the monitoring which:
- confirms that the shielding and control methods are adequate and maintained
- shows that on each occasion irradiation is undertaken, dose rates do not exceed 7.5Svh-1 outside any controlled area

Information is required on how:
- the monitoring results are reviewed and by whom
- you keep the records and for how long

You should state the type(s) of instruments used for the monitoring.

You must make the monitoring records for the last 2 years available during the inspection.

## Section 9

Give a summary of the personal dosimetry provided to employees and others, including the:
- type of dosemeter(s)
- details of the employee groups to whom they are issued
- wear periods – such as monthly or quarterly
- name(s) of the approved dosimetry services used for assessment and record keeping
- dosimetry management processes – including the issue, return, supervision, results review

Provide detail of any use of electronic personal dosemeters.

You should confirm and give details of how EPDs are tested at an appropriate frequency.

You must make dosimetry records available during the inspection.

## Section 10

Give the rationale for designating employees as classified persons.

Classification is dependent upon routine likely exposures and/or the likely exposures as a result of an accident or incident.

Due to the nature of the work, it’s HSE’s opinion that all those involved in work with large scale industrial irradiators should be classified. If this is not the case, you must give an adequate justification.

This is to ensure compliance with Regulation 21 of IRR17. You can find out more about this regulation in publication L121, which you can download at www.hse.gov.uk/pubns/books/l121.htm.

## Section 11

Give a summary of the radiological protection training that has been provided to employees and other persons, including planned frequency and refresher training.

This must be sufficient to ensure that all those carrying out industrial irradiation or likely to be affected by it have received the appropriate information, instruction and training to enable them to restrict their exposures to levels which are ALARP.

You should give a summary of how the results of risk assessment, local rules, contingency plans and other relevant procedures are brought to the attention of employees. How the effectiveness of training is evaluated will be relevant as are plans and arrangements for refresher training.

This is to meet the requirements of regulation 15 of IRR17. You can find out more about this regulation and ALARP in publication L121, which you can download at www.hse.gov.uk/pubns/books/l121.htm.

## Section 12

Give a summary of the information supplied to employees concerning their work with ionising radiations in connection with pregnancy and breast feeding and how you communicate this information to them.

## Section 13

Give a summary of possible radiation accident situations as identified in the radiation risk assessment, their likelihood and potential severity.

This will include information on the consequences of possible failures of control measures – such as electrical interlocks and warning devices – or systems of work.

Summarise all of the possible accidents identified as part of the radiation risk assessment. State their likelihood and give estimates of their potential severity. The latter will include:
- reasonable estimates of potential radiation exposures to employees and members of the public in the event of the accident
- the likely radiation exposures to those engaged in accident mitigation

# Further information

The primary purpose of the submission of a safety assessment is to:
- enable the employer to determine if adequate safety arrangements are in place for the practice, as defined in the Ionising Radiations Regulations 2017 (IRR17)
- give an assurance to HSE that compliance with IRR17 is, or will, be achieved and maintained

Where you believe you cannot or do not meet HSE’s expectations for the content of the safety assessments you should explain why you consider this reasonable and appropriate.

Published: October 2023
Reference: SAT6c